## Slide 1
Catalog of allowable topologies for the Producer’s side
“S”: single gen/WT/PV
“S+i”: single gen/WT/PV + Line
“S+Aux”: single gen/WT/PV + Aux Load
“S+Aux+i”: single gen/WT/PV + Aux Load + Line
“M”: multiple WT/PV
“M+i”: multiple WT/PV + Line
“M+Aux”: multiple WT/PV + Aux Load
“M+Aux+i”: multiple WT/PV + Aux Load + Line
Notes:
For Zone 1 WT/PV, the only one allowed is “S”

## Slide 2
Topology “S”: single gen/WT/PV
Topology “S+i”: single gen/WT/PV + Line
PDR
“Internal network”
id/parId = “Wind_Turbine”
id/parId = “StepUp_Xfmr”
id/parId = “PV_Array”
id/parId = “Synch_Gen”
id/parId = “IntNetwork_Line”

## Slide 3
PDR
“Internal network”
Topology “S+Aux”: single gen/WT/PV + Aux Load
Topology “S+Aux+i”: single gen/WT/PV + Aux Load + Line
id/parId = “Wind_Turbine”
id/parId = “PV_Array”
id/parId = “Synch_Gen”
id/parId = “StepUp_Xfmr”
id/parId = “IntNetwork_Line”
id/parId = “AuxLoad_Xfmr”
id/parId = “Aux_Load”
id/parId = “Int_Bus”

## Slide 4
Topology “M”: multiple WT/PV
Topology “M+i”: multiple WT/PV + Line
PDR
“Internal network”
id/parId = “Wind_Turbine_1”
id/parId = “PV_Array_1”
id/parId = “Wind_Turbine_2”
id/parId = “PV_Array_3”
id/parId = “Wind_Turbine_n”
id/parId = “PV_Array_n”
id/parId = “IntNetwork_Line”
id/parId = “StepUp_Xfmr_1”
id/parId = “StepUp_Xfmr_2”
id/parId = “StepUp_Xfmr_n”
id/parId = “PPM_Xfmr”
id/parId = “Int_Bus”

## Slide 5
Topology “M+Aux”: multiple WT/PV + Aux Load
Topology “M+Aux+i”: multiple WT/PV + Aux Load + Line
PDR
“Internal network”
id/parId = “Wind_Turbine_1”
id/parId = “PV_Array_1”
id/parId = “Wind_Turbine_2”
id/parId = “PV_Array_3”
id/parId = “Wind_Turbine_n”
id/parId = “PV_Array_n”
id/parId = “StepUp_Xfmr_1”
id/parId = “StepUp_Xfmr_2”
id/parId = “StepUp_Xfmr_n”
id/parId = “PPM_Xfmr”
id/parId = “IntNetwork_Line”
id/parId = “AuxLoad_Xfmr”
id/parId = “Aux_Load”
id/parId = “Int_Bus”

## Slide 6
For PPMs, Zone 1: allow only Topology “S”: (single WT/PV)
CB1
id/parId = “Wind_Turbine”
id/parId = “PV_Array”
id/parId = “StepUp_Xfmr”

## Slide 7
Notes